## Slide 1: Power Sector Resilience Solutions
Power Sector Resilience Planning Guidebook
The following slides are intended to provide additional background information on the entire power sector resilience planning process, including examples of solutions and how to prioritize them. They can serve simply as a reference or can be used in local power sector resilience assessment workshops. For questions or more information on the slides, use the “Ask An Expert” feature on the Resilient Energy Platform website.

## Slide 2: Key Messages
Resilience is more than just reliability
Resilience planning should be part of integrated planning
There are multiple ways to prioritize resilience action:
  Priority threats
  Cost
  Difficulty
  Number/priority of enhanced systems
  Cascading Impacts
  Ancillary benefits
Benefits to power system resilience:
  Ability to reliably meet growing electricity demands
  Decreased dependence on imported fuels, diversification of resources
  Less economic loss/impact from threats
  Improved infrastructure for fuel supply and electricity transmission
  Increased safety and decreased mortality rates

## Slide 3: What Do We Mean by Resilience?
Utilities often speak about resilience in terms of reliability.
In reality, resilience encompasses more topics:
  Economic resilience
  Readiness for climatic changes
  Operational flexibility
  Ability to shift resources should also be considered
Power sector resilience refers to the ability of the power sector to anticipate, prepare for, and adapt to changing conditions and withstand, respond to, and recover rapidly from disruptions.1
Figure. MWH Global
1. NREL’s Resilience Roadmap: https://www.nrel.gov/resilience-planning-roadmap/

## Slide 4: Resilience Planning Process Review

## Slide 5: Power Sector Threats to Consider
Threats to power systems include:
Climate threats
Price volatility of generation fuel
Technology failures (such as dam collapses)
Variability of renewable energy resources
Human actions including accidents and attacks
Critical facility outages
Health impacts of power outages
Social and financial impacts of power outages
Operations
Workforce
Finance
Community impacts related to power-supply vulnerabilities include:
Power Plant
Step-up transformer
Transmission
Transmission Substation
Distribution Substation
Distribution
Load

## Slide 6: Economic Impacts of Power Outages
In the U. S., Cost estimates from storm-related outages to the economy are estimated at between $20 billion and $55 billion annually.
Industries most impacted by outages:
  Digital economy (telecommunications, data storage and retrieval services, the financial industry, etc.)
  Continuous process manufacturing (e.g. paper, chemicals, petroleum, rubber and plastic, etc.)
  Essential services (e.g. hospitals, utilities and transportation facilities such as railroads and mass transit, water and wastewater treatment, gas utilities and pipelines, etc.)
  Source: ttp://woodpoles.org/portals/2/documents/CRS_Outages.pdf
Notes: The digital economy (DE). This sector includes firms that rely heavily on data storage and retrieval, data processing, or research and development operations. Specific industries include telecommunications, data storage and retrieval services (including collocation facilities or Internet hotels), biotechnology, electronics manufacturing, and the financial industry. Continuous process manufacturing (CPM). This sector includes manufacturing facilities that continuously feed raw materials, often at high temperatures, through an industrial process. Specific industries include paper; chemicals; petroleum; rubber and plastic; stone, clay, and glass; and primary metals. Fabrication and essential services (FES). This sector includes all other manufacturing industries, plus utilities and transportation facilities such as railroads and mass transit, water and wastewater treatment, and gas utilities and pipelines.

## Slide 7: Economic Impacts of Power Outages
Source. NOAA NCEI, https://www.climate.gov/news-features/blogs/beyond-data/2017-us-billion-dollar-weather-and-climate-disasters-historic-year

## Slide 8: Economic Impacts of Power Outages
Cost estimates from storm-related outages to the Pakistani economy are estimated at $18 billion annually, 7% of their GDP.
  Pakistan ranks 115th out of 137 countries for grid reliability
  50 million Pakistanis lack access to reliable electricity
  Source. Zhang, 2019, In the Dark: How Much Do Power Sector Distortions Cost South Asia
  The World Bank
Example: Pakistan
Notes: The digital economy (DE). This sector includes firms that rely heavily on data storage and retrieval, data processing, or research and development operations. Specific industries include telecommunications, data storage and retrieval services (including collocation facilities or Internet hotels), biotechnology, electronics manufacturing, and the financial industry. Continuous process manufacturing (CPM). This sector includes manufacturing facilities that continuously feed raw materials, often at high temperatures, through an industrial process. Specific industries include paper; chemicals; petroleum; rubber and plastic; stone, clay, and glass; and primary metals. Fabrication and essential services (FES). This sector includes all other manufacturing industries, plus utilities and transportation facilities such as railroads and mass transit, water and wastewater treatment, and gas utilities and pipelines.

## Slide 9: Resilience Planning Process

## Slide 10: Example Resilience Solutions
Supply chain assurance
Spatial diversification
Generation mix diversification
Islandable energy systems for critical loads (microgrids)
Critical load panels in emergency facilities
Passive survivability
Load shedding
Energy storage
Hardening infrastructure
Underground distribution lines
Fortifying transmission lines
Raising substations
Photos. Dennis Schroeder, NREL

## Slide 11: Resilience Solution: Spatial and Generation Diversification
The modular (or sectional) nature of renewable energy technologies, such as wind turbines and solar photovoltaics (PV) allows:
  Greater spatial diversification of energy supplies compared to conventional power generation systems
  Increased diversification of energy mix compared to single fuel conventional power plants
Increased diversification reduces the vulnerability of the energy supply system and the probability of an event to damage the larger system or critical locations, which increases overall energy system resilience
Figure. Stout et al., 2018)

## Slide 12: Resilience Solution: Microgrids
Distributed generation (DG) based microgrids capable of islanding can disconnect from the central grid during an outage event to allow energy to be diverted to critical loads.
  Allows utilities flexibility in restoring generation stations, responding to critical outages, and shutting down systems before an anticipated major event (like storms) to prevent damage.
Islanded DG systems ensure consumers have access to power during long-term power outages that severely impact central grid systems, which can occur after major events.
Additional Benefit: microgrids can participate in demand response programs to reduce electric loads during times of peak demand.

## Slide 13: Resilience Solution: Microgrids
Figure. https://nysolarmap.com/media/1655/dghubresiliencyretrofitfactsheet_8_8_16.pdf

## Slide 14: Resilience Solution: Redundancy
The increased stress on infrastructure systems can increase the likelihood of failure of one or more parts of a system.
Redundancy is essential for resilience. Renewable DG can add redundancy while stretching fuel supplies for conventional generators
Communities served by only one power line or generating station have limited resilience. Increasing supplies, routes, or incorporating redundancy to overall systems will reduce the risks of those systems.
Redundancy is the inclusion of additional resources beyond those that are required for daily operations that can be relied upon in case of failure in other components.

## Slide 15: Resilience Solution: Redundancy
Figure. Anderson et al. 2016

## Slide 16: Resilience Solution: Policy
In 2012 the U.S. state of New Jersey had the second most installed solar PV of any U.S. state.
When Hurricane Sandy hit, only a few of those systems provided power during the 12 day ensuing power outage.
Why?
  Lack of resilience enabling policy, interconnection agreements, and island controls!
Figure. https://en.wikipedia.org/wiki/File:Map_of_the_USA_highlighting_New_Jersey.png

## Slide 17: Resilience Planning Process

## Slide 18: Resilience Planning: Options Evaluation by Priority Vulnerabilities
High probability threat with regional impact
Low probability threat with limited impact
Single system impacts
Multiple system impacts

## Slide 19: Resilience Planning: Options Evaluation by Cost and Complexity
Simple implementation
Complex implementation
Low cost of implementation
High cost of implementation

## Slide 20: Resilience Planning: Options Evaluation by Cost and Priority Systems
Low cost of implementation
High cost of implementation
Single system impacts
Multiple system impacts

## Slide 21: Effective Resilience Planning:
Power sector resilience planning should:
  Be incorporated into existing planning processes
  Include engagement with non-utility entities for incorporation into broader community resilience and adaptation planning
  Be part of a process that is revisited and updated periodically
  Be incorporated into an action plan for implementation and financing will need to be identified to support project implementation

## Slide 22: Early Actions for Resilience
Update resilience enabling policies
Are energy systems allowed to island? How much fuel must you store?
Figure. https://www.energy.gov/downloads/us-energy-sector-vulnerabilities-climate-change-and-extreme-weather
Define current and projected threats
  How many floods do you have now? How many floods will you have in 2050?
Set resilience goals
  Ability to fully re-power within 3 days of major weather event, 10% DG + storage by 2025, all substations above projected flood height by 2020
Define critical facilities and services

## Slide 23: Key Takeaways
Redundancy and diversification are key to increasing power sector resilience.
  Renewable energy can play a valuable role in power sector resilience through redundancy and energy diversification.
Policy matters! Don’t forget to incorporate good policy design into technical adaptation strategies
Include resilience planning as part of larger integrated planning processes.
Resilience planning is iterative. Plans have to evolve as contexts and threats change

## Slide 24: Useful Links
Resilience Roadmap https://www.nrel.gov/resilience-planning-roadmap/
Reopt Model https://reopt.nrel.gov/
New York Solar Smart DG Hub Resilient Solar Project: https://www.nrel.gov/docs/fy16osti/66617.pdf
Distributed Solar PV for Electricity System Resiliency: Policy and Regulatory Considerations https://www.nrel.gov/docs/fy15osti/62631.pdf
Microgrid-Ready Solar PV - Planning for Resiliency https://www.nrel.gov/docs/fy18osti/70122.pdf
Distributed Generation to Support Development Focused Climate Action https://www.nrel.gov/docs/fy16osti/66597.pdf
NY Solar Smart Glossary https://nysolarmap.com/media/1457/dg_hub_glossary.pdf